## README
Golf vs Data Centers: US Water Consumption
The question
Two largely discretionary US uses of water, compared on the same basis: golf course irrigation
(long accepted) and data centers (newly scrutinized amid the AI buildout). National, annual.
Agriculture is deliberately excluded as a comparator: food production is non-discretionary, so
it is not the relevant peer for either of these.
The one normalization that matters
CONSUMPTION, not withdrawal. Water evaporated or transpired and not returned to the source.
Applied identically to both sides. Golf is published as APPLIED (withdrawal-type) water; we convert
it to consumption with an evapotranspiration fraction. Data-center water from LBNL is already a
consumption-style figure (evaporative cooling + water consumed generating the electricity).
The 2x2 (four data-center figures, one golf figure)
Axis 1: DIRECT only (on-site cooling) vs DIRECT + INDIRECT (water embedded in the electricity).
Axis 2: TOTAL data-center footprint vs AI-MARGINAL share (the slice attributable to AI).
That yields four data-center cells. Each is compared against the single golf consumption figure,
and the golf-to-data-center ratio is computed per cell (not assumed). See Outputs.
AI-marginal share: three selectable methods
Incremental (recent growth attributed to AI), Attributional (AI share of total compute today),
Build-specific (newly announced AI capacity). Each gives a different number. Pick the method on
Assumptions (ai_method = 1/2/3). All three are uncertain; AI increasingly runs on shared
infrastructure, which makes clean attribution harder.
How to drive the model
Change one blue cell on Assumptions and watch Outputs move:
ai_method (1=incremental, 2=attributional, 3=build-specific)
proj_year (1=2023 current, 2=2026, 3=2028, 4=2030)
golf_consumption_fraction (Low/Central/High columns)
indirect_water_intensity (Low = marginal gas/renewables, Central/High = LBNL grid-average)
Color conventions
Blue text = input you can edit. Black text = formula. Green text = cross-sheet reference.
Yellow fill = key assumption worth scrutinizing. Orange fill on a ratio = comparison flips (<1).
Biggest caveats (full list on Sensitivity)
1. Golf's consumption fraction (70/80/90%) is a MODELING ASSUMPTION, not a surveyed number.
2. LBNL's indirect-water intensity (4.52 L/kWh) includes hydropower reservoir evaporation, a
grid-average attribution. A marginal view (new gas/renewables) is far lower (~0.8 L/kWh).
This single fork swings total data-center water by roughly 4x. It is the model's main lever.
3. National aggregate hides local concentration. A stressed county can invert the result.
4. 2030 is an extrapolation beyond LBNL's 2028 horizon. Treat it as a sensitivity point.
Key sources
Golf applied water: Shaddox et al. (2025), HortTechnology 35(5):848-857 (GCSAA/USGA survey, 4th
round, 2024 data): 1.63 million acre-feet applied. https://doi.org/10.21273/HORTTECH05716-25
Data-center water + electricity: Shehabi et al. (2024), 2024 United States Data Center Energy
Usage Report, LBNL-2001637: direct 66 bn L, indirect ~800 bn L (2023); 176 TWh (2023),
325-580 TWh (2028). https://eta-publications.lbl.gov (LBNL Dec 2024).
Electricity-generation water factors: Macknick et al. (2012), Environ. Res. Lett. 7 045802.
Benchmarks: USGS Estimated Use of Water in the United States 2015 (FS 2018-3035).

## Assumptions
Assumptions (every figure editable; blue = input)
Driver (named cell) | Unit | Low | Central | High | Source / note
Unit conversions (constants)
Acre-foot to gallons | gal/AF | 325851 | 325851 | 325851 | Exact. 1 acre-foot = 325,851 US gallons.
Liters to gallons | gal/L | 0.26417 | 0.26417 | 0.26417 | 1 US gallon = 3.785 L.
Golf (one figure, compared against the four DC cells)
Golf applied (irrigation) water, national | M acre-ft | 1.58 | 1.63 | 1.68 | Shaddox et al. 2025 HortTechnology (GCSAA/USGA 4th-round survey, 2024 data): 1.63M acre-ft APPLIED. Band is projection uncertainty (+/-3%). This is withdrawal-type, not consumption.
Golf evapotranspiration consumption fraction | % | 70% | 80% | 90% | MODELING ASSUMPTION, not surveyed. Share of applied turf water consumed via ET (rest is runoff / deep percolation back to source). No survey-grade national value exists.
Data-center electricity by year (TWh)
DC electricity, 2023 (actual) | TWh | 170 | 176 | 182 | LBNL 2024: 176 TWh = 4.4% of US electricity. Band is rounding.
DC electricity, 2026 (interpolated) | TWh | 255 | 309 | 361 | Interpolated on LBNL 2023->2028 CAGR (13/21/27%/yr by scenario).
DC electricity, 2028 (LBNL scenarios) | TWh | 325 | 450 | 580 | LBNL 2024: low/high = 325/580 TWh; central = midpoint. = 6.7-12% of US electricity.
DC electricity, 2030 (extrapolated) | TWh | 416 | 656 | 936 | EXTRAPOLATION beyond LBNL horizon at each scenario's CAGR. Sensitivity point only.
Water intensities
Direct water-use effectiveness, 2023 | L/kWh | 0.32 | 0.375 | 0.43 | LBNL 2024 site WUE ~0.36 L/kWh; 0.375 reproduces the 66 bn L direct total at 176 TWh.
Direct WUE, 2026 | L/kWh | 0.36 | 0.42 | 0.49 | Rising toward LBNL's 0.45-0.48 by 2028 (liquid cooling for AI).
Direct WUE, 2028 | L/kWh | 0.4 | 0.46 | 0.53 | LBNL 2024: projected site WUE 0.45-0.48 L/kWh.
Direct WUE, 2030 | L/kWh | 0.4 | 0.47 | 0.55 | Held near 2028; extrapolation.
Indirect water intensity of electricity | L/kWh | 0.8 | 4.52 | 6 | THE MAIN LEVER. Central 4.52 = LBNL DC-weighted grid average, INCLUDES hydropower reservoir evaporation. Low 0.80 = marginal gas/renewables view (Macknick NGCC ~0.78). High 6.0 = hydro/coal-heavy regions.
AI-marginal share (three methods; pick one with ai_method)
Method 1: incremental (AI share of recent growth) | % | 55% | 65% | 80% | LBNL: accelerated AI servers drove most of the 2017-23 server-energy growth and define the 2028 scenario fan.
Method 2: attributional (AI share of total DC today) | % | 15% | 23% | 30% | LBNL: AI-accelerated servers >40 TWh of 176 TWh (2023) ~= 23%. Cleanest single number.
Method 3: build-specific (AI share of new capacity) | % | 60% | 80% | 95% | Stargate/Hyperion + 2025 leasing surge: near-all marginal GW is AI. Press-announcement basis.
Selectors (change these to drive Outputs)
ai_method (1=incremental, 2=attributional, 3=build-specific) | 1-3 | 2 | 2 | 2 | Picks which AI-share row feeds the AI-marginal cells. Default 2 (attributional).
proj_year (1=2023, 2=2026, 3=2028, 4=2030) | 1-4 | 1 | 1 | 1 | Picks which year's electricity/water feeds Outputs. Default 1 (2023, current).
Benchmarks (US national)
US irrigation consumptive use | Bgal/day | 73.2 | 73.2 | 73.2 | USGS 2015 (FS 2018-3035): 73.2 Bgal/d consumed (of 118 Bgal/d withdrawn).
US irrigation withdrawals | Bgal/day | 118 | 118 | 118 | USGS 2015. Withdrawal basis (for contrast).
US total freshwater withdrawals (all uses) | Bgal/day | 281 | 281 | 281 | USGS 2015: 281 Bgal/d freshwater (322 incl. saline).
US thermoelectric consumptive use | Bgal/day | 4.31 | 4.31 | 4.31 | USGS 2015: 4.31 Bgal/d consumed by power plants (all generation, not just DC).
Economic value (softer inputs, for value-per-gallon)
US golf facility/course revenue (direct) | $B/yr | 35.7 | 35.7 | 35.7 | IBISWorld 2025, Golf Courses & Country Clubs: green fees, memberships, on-course spend. Narrow, the value most directly attributable to the water.
US golf total economic impact (broad) | $B/yr | 101.7 | 101.7 | 101.7 | We Are Golf/NGF 2022 direct impact; bundles equipment, apparel, real estate, tourism. Industry-commissioned upper bound.
US data center market revenue (direct) | $B/yr | 208.4 | 208.4 | 208.4 | Arizton 2024, US data center market (colocation + hyperscale + enterprise). Narrow.
US data center GDP contribution (broad) | $B/yr | 727 | 727 | 727 | PwC for Data Center Coalition, 2023 direct value-added. Industry-commissioned, multiplier-heavy upper bound.
US generative-AI revenue (AI-specific) | $B/yr | 12.8 | 12.8 | 12.8 | S&P Global 2024, US generative AI. Small, fast-growing, contested attribution.

## Calculations
Calculations (all water in billion gallons/year unless noted)
Quantity | Unit | Low | Central | High | Formula note
Golf
Golf applied water | Bgal/yr |  |  |  | Applied (withdrawal-type). M acre-ft x 325,851 gal.
Golf CONSUMED water | Bgal/yr |  |  |  | Applied x ET consumption fraction. This is the golf number used everywhere.
Data-center water by year (Bgal/yr)
2023 electricity | TWh |  |  |  | From Assumptions.
2023 DIRECT water (on-site cooling) | Bgal/yr |  |  |  | TWh x 1e9 kWh x WUE(L/kWh) x gal/L / 1e9.
2023 INDIRECT water (electricity generation) | Bgal/yr |  |  |  | TWh x 1e9 kWh x intensity(L/kWh) x gal/L / 1e9.
2023 TOTAL (direct + indirect) | Bgal/yr
2026 electricity | TWh |  |  |  | From Assumptions.
2026 DIRECT water (on-site cooling) | Bgal/yr |  |  |  | TWh x 1e9 kWh x WUE(L/kWh) x gal/L / 1e9.
2026 INDIRECT water (electricity generation) | Bgal/yr |  |  |  | TWh x 1e9 kWh x intensity(L/kWh) x gal/L / 1e9.
2026 TOTAL (direct + indirect) | Bgal/yr
2028 electricity | TWh |  |  |  | From Assumptions.
2028 DIRECT water (on-site cooling) | Bgal/yr |  |  |  | TWh x 1e9 kWh x WUE(L/kWh) x gal/L / 1e9.
2028 INDIRECT water (electricity generation) | Bgal/yr |  |  |  | TWh x 1e9 kWh x intensity(L/kWh) x gal/L / 1e9.
2028 TOTAL (direct + indirect) | Bgal/yr
2030 electricity | TWh |  |  |  | From Assumptions.
2030 DIRECT water (on-site cooling) | Bgal/yr |  |  |  | TWh x 1e9 kWh x WUE(L/kWh) x gal/L / 1e9.
2030 INDIRECT water (electricity generation) | Bgal/yr |  |  |  | TWh x 1e9 kWh x intensity(L/kWh) x gal/L / 1e9.
2030 TOTAL (direct + indirect) | Bgal/yr
AI-marginal share
Method 1: incremental | %
Method 2: attributional | %
Method 3: build-specific | %
Selected share (via ai_method) | % |  |  |  | CHOOSE on ai_method selector.
Selected year (via proj_year selector)
Selected year | yr
Selected DIRECT water | Bgal/yr
Selected INDIRECT water | Bgal/yr
Selected TOTAL water | Bgal/yr

## Outputs
The 2x2: four data-center water figures vs one golf figure
Year: |  | AI share (selected): |  |  | Golf consumed (Bgal/yr):
All figures billion gallons/year, consumption basis. Change proj_year / ai_method / golf_consumption_fraction / indirect_water_intensity on Assumptions to move everything below.
Data-center cell | Basis | Water Low | Water Central | Water High
Cell A: Direct only x Total footprint | on-site cooling, all DCs
Cell B: Direct only x AI-marginal | on-site cooling, AI slice
Cell C: Direct+indirect x Total footprint | + electricity water, all DCs
Cell D: Direct+indirect x AI-marginal | + electricity water, AI slice
Golf (consumed) | reference
Golf-to-data-center ratio per cell (golf consumption / DC cell)
Cell | Ratio min | Ratio central | Ratio max | Reading
Cell A
Cell B
Cell C
Cell D
Ratio min pairs the lowest plausible golf with the highest plausible DC (the corner most favorable to data centers). Ratio > 1 means golf consumes more. The 'flip' question is whether any cell's min (or central) drops below 1.

## Benchmarks
Both uses against US agriculture and total freshwater
Benchmark (US, annual) | Bgal/year
US irrigation CONSUMPTION |  | USGS 2015: 73.2 Bgal/d. The consumption-basis ag benchmark.
US irrigation WITHDRAWALS |  | USGS 2015: 118 Bgal/d. Withdrawal basis (for contrast).
US total freshwater WITHDRAWALS |  | USGS 2015: 281 Bgal/d, all sectors.
Golf and data centers as a share of each benchmark
Use (Bgal/yr, central) | Value | % of US irrigation consumption | % of US total freshwater withdrawals
Golf (consumed)
Data centers, total footprint (selected year)
Data centers, direct only (selected year)
Data centers, AI-marginal total (selected)
Both discretionary uses are small against agriculture. Golf consumption is ~1.6% of US irrigation consumption; total data-center water (2023) is under 1%. Agriculture is the elephant; it is excluded as a comparator on purpose, because food is non-discretionary.

## Value
Economic value vs water: value per gallon, and the AI breakeven
Water is one side of the ledger; this is the other, what the water buys. Direct-revenue figures (narrow) are the cleaner numerator. The broad 'economic impact' totals are industry-commissioned and multiplier-heavy, so treat them as upper bounds. Recreation value and AI's promised productivity are both real and undercounted here. Value per gallon also structurally favors whatever is not water-hungry, which is most things next to turf.
Use | Direct revenue ($B/yr) | Broad impact ($B/yr) | Water (Bgal/yr) | Value/gal (narrow) | Value/gal (broad)
Golf
Data centers (total footprint, 2023)
AI-marginal (attributional ~23%) |  | n/a |  |  | n/a
Value per gallon: data centers vs golf
Data centers vs golf, value per gallon (narrow basis)
Data centers vs golf, value per gallon (broad basis)
Golf's water lead (gallons), for contrast
Golf consumes nearly twice the water and produces about a tenth the revenue per gallon. The gallons fight and the value-per-gallon fight point opposite ways.
Breakeven: value needed to match golf's value per gallon (narrow)
Value data centers must produce to match golf $/gal
Data centers actual (direct revenue)
Data centers clear the bar by
Value AI-marginal must produce to match golf $/gal
AI-marginal actual (US gen-AI revenue)
AI clears the bar by
The line to clear is low and already passed. Even AI alone, on its small contested slice, earns several times what golf's water productivity would require.

## Sensitivity
What moves the headline ratio, and what can flip it
Headline cell = Cell C (direct+indirect x total footprint), the framing where the popular claim is most fragile. Ratio = golf consumption / DC total. >1 means golf leads. Each block below moves ONE assumption and holds the rest at central.
1. Golf ET consumption fraction (vs DC total, 2023 central)
Fraction | Golf consumed (Bgal) | DC total 2023 (Bgal) | Ratio | Flips?
70%
80%
90%
Golf fraction never flips the comparison: across 70-90% golf stays ~360-490 Bgal. Not a lever.
2. Indirect water on/off (the basis-mismatch correction), 2023 central
DC basis | DC water (Bgal) | Golf (Bgal) | Ratio | Flips?
Direct only
Direct + indirect
Counting electricity water collapses golf's lead from ~24x (direct only) to ~2x. This is the single biggest correction to the popular comparison.
3. Indirect water intensity: marginal vs grid-average (2023, total footprint)
Intensity (L/kWh) | DC total (Bgal) | Golf (Bgal) | Ratio | Flips?
0.80 (marginal gas/renew.)
2.50 (thermoelectric avg)
4.52 (LBNL grid avg, incl. hydro)
6.00 (hydro/coal-heavy)
Even at the highest grid-average intensity, golf still leads at 2023 scale. Intensity alone does not flip the present-day comparison; it sets how fast growth closes the gap.
4. AI-attribution method (AI-marginal total water, 2023 central)
Method | AI share | AI-marginal DC (Bgal) | Golf (Bgal) | Ratio | Flips?
Incremental
Attributional
Build-specific
At 2023 scale, AI-specific water is a small fraction of golf under every method.
5. Projection year (total footprint, central) -- the variable that flips it
Year | DC total (Bgal) | Golf (Bgal) | Ratio | Flips?
2023
2026
2028
2030
Golf is flat-to-declining; data-center water is compounding ~20%/yr. Under the central grid-average intensity, total DC water consumption overtakes golf between 2026 and 2028. This is the assumption that flips the comparison: not how golf or AI is measured, but TIME.